## Slide 1
EUROPEAN SYNCHROTRON RADIATION FACILITY
http://www.tango-controls.org/
Technical overview
Community
Use cases
Gouvernance

## Slide 2: TANGO: What is it?
Data
Analysis
Config
Archiving
TANGO Software Bus distributed on a network
Generic Services
Hardware
Device
Monitoring
Synoptics
GUI
Sequencing
GUI Tool-Kits
User environment
Matlab,Labview Igor, Python
Device
Hardware
Device
Hardware
Device
Software
Device
Hardware
Catalog of
device servers
Development
tools
Interface
Generator
API Library + Protocol + Device Model
Topology independent

## Slide 3: TANGO as a bridge
Tango binding
Industrial SCADA
Tango
binding
TANGO Software Bus
Device
Server
TANGO
JAVA/C++/Python
clients
Build a TANGO object from a set of channels
Tango
binding
Object oriented layer above EPICS…
server
Device
Server
PLC network
Modbus
server
Device
Server
PLC or
embedded
system
Data socket
server
acquisition
system
Device
Server
Hardware
electronic
Device
Server

## Slide 4: A step further with workflow tools
Workflow editor
Sequencing tool
Your plugin

## Slide 5: A factory: Aggregation of different SCADAS
Several sub-systems from different suppliers to supervise
  Building automation, process, safety systems….
Heterogenic system (languages, machines…)
Compatibility issues, central control room

## Slide 6: A European Control System framework «Remote control anything and everything»
A mature Open Source product
> 100 man years of development
Used in 15+ big instruments
Active community
Object oriented, topology independent, highly scalable,
Operating system independent
Multi language

## Slide 7
big scientific instruments
> 1 000 000 signals and actuators

## Slide 8: Use cases
TANGO was born in particle accelerator world, however …
TANGO is a generic solution for any collection of objects
Used also in other scientific domains like
Wind tunnels e.g. ONERA
Neutron source experiments (FRM2 + Julich in Germany)
Large laser installation
  LMJ, PETAL, APOLLON
  Free Electron Laser (Fermi)
Small instruments
  Thomx (art and medecine)
Small installations
  Embedded systems
  Industrial supervision

## Slide 9: Managing complexity simply
Hierarchical structures ideal for managing complex systems
ADC
Measurements
Interlocks
fast
Interlocks
slow
Driver
Dummy Load
SSA
4x
Low Level RF
280V PS
Wave Guide
Switches
Sequencer
Python Sequences
High Level
SSA
GUI

## Slide 10: How to try it?
TANGO is available free of charge
Source code distribution
Downloadable on http://www.tango-controls.org/download
Binary Packages
  Available for Ubuntu + Debian Linux in the standard distributions
  sudo apt-get install tango-common tango-db python-pytango
  Available for Windows on http://www.tango-controls.org/download
The Tango Box
  An Ubuntu virtual machine with Tango installed and configured for easy testing
  Runs on VMware and Virtualbox

## Slide 11
JINR
Particle accelerators
Laser installations
Other labs
Industry service
Distribution over Europe

## Slide 12
J I N R
Some recent projects using TANGO

## Slide 13
… more and more industrial partners …

## Slide 14
and others not mentioned here …
Snowball effect :
projects in construction with TANGO

## Slide 15: Growing community
Recently adopted by several big installations over the world
  ELI projects in Hungary, Romania and Check republic.
    900 M€ project
    3 distinct centers of around 300M€ each
    Ultra high power pulsed lasers
      100 TeraWatt to 10 PetaWatt pulsed lasers

## Slide 16: Growing community
Recently adopted by several big installations over the world
  SKA project (world biggest astronomic project)
    Controlling 131000 antenas in in Australia
    200 dishes of 15m diameters each in south Africa
    Head quarters in UK (Manchester)
    Contributors from India, China, Japan, Canada, Italy (11 countries)
    1 Billion dollars project,
    10 Millons of control points over 2 continents
    50 PetaBytes of data
    Nano seco synchronisation and time stamping

## Slide 17
Managing the growing community
>30 sites depending on Tango => need a structured governance to guaranty long term availability and sustainability
TANGO consortium created end 2016 (following a first MoU signed early 2000’s)
  Guarantee that TANGO remains free and open source
  Help industrial partners to generate sustainable revenues
  Stimulate the development and manage repositories
  Represent the community, collect funds
Animate the community
  Listen the partners requests, complains, proposals
  Propose evolutions
  Increase interoperability
  Promote a catalogue of standard solutions
  Organize Tango community meetings.
  Legal status
  The consortium is hosted by the ESRF.
  Multilateral contract between ESRF and partners
  Steering committee decide the strategy, follow-up actions and vote budget.

## Slide 18: Stimulate the snowball effect Enhance the eco-system
Welcome new users and industrial partners
Increase the number of trained people
Ease the first steps with TANGO
Help system integrators to access new markets in industry
Getting more TANGO enabled hardware
Provide industrial standard quality + support
Make it a de-facto standard
  …

## Slide 19: Tango consortium
10 major scientific instruments signed a contract for co-financing the development:
  ESRF (European light source in Grenoble: 350000 process units) (core member)
  SOLEIL (French light source: 250000 parameters) (core member)
  ALBA (Spanish national synchrotron light source) (core member)
  ELETTRA (Italian national synchrotron light source) (core member)
  DESY (German research center, several synchrotrons + lasers)
  INAF (Astronomy center in Italy),member of SKA
  MAXIV ( Swedish national synchrotron light source)
  SOLARIS ( Polish national synchrotron light source)
  SKA-Organisation (joined in 2017)
  SKA-South Africa (joined in 2017)

## Slide 20: Tango consortium
The 10 partners provide man power contribution + budget.
  10k€ and in kind development man power
The number of partners is growing
  2 new partners in 2017 (SKA-O + SKA-SA),
  1 candidate in 2018 (ELI Beamlines)
  Possibility for industry to become sponsor partner in exchange of visibility
  More budget -> More services, better support, better quality

## Slide 21: Actions done thanks to common budget
Improve the communication :
  New web site (design, development, maintenance and hosting)
  Github repository
  Device server catalog
  Forum, FAQ
  Tutorials, virtual machine
  New documentation online (doc camp…)
  Travel costs for meetings
  Sponsor and/or organize Tango meetings (Florence, Moscow…)
  Promotion in industry
Development
  Continuous integration
  Refactor the code
  Tango V9 LTS
  New features in future Tango V10
  Windows packaging
  PyTango for tango 9
  TangoWebapp
  And other things

## Slide 22: TANGO = a control system for the future
join the TANGO community