## Slide 1
SVG Synoptic
Graphical User Interface
Taranta workshop, TANGO 2024
Vincent Hardion, 2024/05/28

## Slide 2: SVG Synoptic connected with Tango Pan Zoom Layers - Advance Zoom feature - Functional Layers Misc - Tooltip - Open Specific panel - CSS, …
Agenda

## Slide 3: SVG
Web standard
Markup language for describing two-dimensional graphics applications and images
Inkscape, one the greatest drawing software is also fully open-source
https://en.m.wikipedia.org/wiki/File:Ghostscript_Tiger.svg
CC-BY

## Slide 4: SVG Synoptic
Tango Control System
Taranta
TangoGQL
Render with Standard Web Browser
With enhanced feature in Taranta Front End
Control System communication with TangoGQL

## Slide 5
Find the linac.svg: https://gitlab.com/MaxIV/synopticdemo/synopticdemo/resources/images/linac.svg
Open Taranta: your instance or https://taranta-demo.maxiv.lu.se
Import a new synoptic
Navigate to the linac gun
Open Inkscape
Open the linac.svg file
Exercise I: run the synoptic
5

## Slide 6: BUILT IN FEATURE
PAN
Viewbox
SVG is a complete set for rendering image
PAN/ZOOM
View port

## Slide 7: SVG is rendered as vectorial drawing No loss of quality when Zoom Thumbnail*
Z factor
Thumbnail*
ZOOM
*Next Release version

## Slide 8: SVG Layer
Group components together
Can be define in sequence and
nested
Layer
<svg>
<g id=“Main”>
<g id=“Background”>
…
</g>
<g id=“misc”>… </g>
</g>
</svg>
TANGO
Background
Main
Misc

## Slide 9: Zoom Layer
Hide and Show following the level of zoom
Zoom can be continuous (mouse wheel) or discrete (click)
Layers
<g
style="display:inline;opacity:1"
inkscape:label="zoom2"
id="layer1"
inkscape:groupmode="layer"
Z
0
1
2
Table Mountain View
Intermediate View
Detailed view

## Slide 10
Duplicate one of the symbols
Move it along the linac
Open the Object Properties
In the Description, write: model=sys/tg_test/1
Validate by clicking on the “Set” button
Move to layer MAG->zoom2
Run the synoptic
Symbols
Add a new device
1
2
3
4
5
6
7

## Slide 11: Functional Layer
Hide and Show on demand
Layers
<svg>
<g id=“Main”>
</g>
<g
id=“Flow”
hidden=True>
…
</g>
<g
id=“Temp”
hidden=False>
</g>
</svg>
Main
T=20 C
Flow
Cooling
Same zoom level
Flow
T=20 C
Temp

## Slide 12
Open the Layers panel
Add a new layer “cooling” under the “svg-main”
  Position “As sublayer of current”
Create an element “TCO”
Create a text element called “temperature”
  Change the description to “model=sys/tg_test/1/double_scalar
  Change the layer to “Cooling”
Run the synoptic
2
1
3
4
Exercise III: add a functional layer
5

## Slide 13: SVG is HTML
Part of the DOM
Tooltips
Click
CSS*
T=20 C
Device: I-MS1/DIA/BPL-02
*Next Release version

## Slide 14: SVG is HTML
CSS powered*
T=20 C
Drawing
Drawing
css:
.state[data-value="ON"] {fill: green !important}
css:
.state[data-value=“ON"] {fill: purple !important}
*Next Release version

## Slide 15
Take away Challenge for you
Change the color of the FAULT state

## Slide 16: Question?
Question Everything (Nullius in verba), Dunk 🐝
CC-BY