## Slide 1: ALBA MagnetLab
Mateusz Celary

## Slide 2: Laboratory Setup
3D Movable Hall Bench with probe
Free movement
Step scan (lines, grid)
Continuous scan (triggers)
Calibration

## Slide 3: Motivation for the new system
Previous system developed by the student (~8 months of development)
High rate of failures (failure rate of 5 hours scans was 10-20%)
Hard to recover after the failure (manual reset of Devices and Sardana controllers required)
Device servers written in Python 2.7 and C++, using old tango low-level server API
GUI design refreshment (not top priority)

## Slide 4: EPU model Mini preparation project

## Slide 5: EPU Project
Few weeks to begin the main project
Promotional materials needed

## Slide 6: Shopping list
Two stepper motors (+drivers)
Power supply
Arduino
Hall probe sensor
Ferrite Magnets... many
3D printed frames and holdings
3D printer parts for runners

## Slide 9: Back to ALBA Project

## Slide 10
Equipment (Device Servers)
8 Device Servers to create/refactor
PowerPMAC Motion controler
Keithley Voltometers
Power supplies (Lakeshore, Danfysik)
Thermometers
Teslameters
Electromagnet
Requirement no. 1 - robustness

## Slide 11: Sardana or not?
Previous code used Sardana extensively
Previous code used more "exotic" classes – triggers
Previous code looked good, apparently without mistakes – I had to do something different
It's an additional level of abstraction, complicating simple logic (move, measure, repeat) - can be implemented in pure python
No synchronization of multiple devices required
I had a blessing from Zbigniew Reszela
No Sardana in ALBA – bold move

## Slide 12: Project Workflow
Connection to the devices (on-site)
Device Servers implementation/refactoring (on-site)
Preparation for remote work (on-site):
  Photo documentation of hardware and connections
  Installation of camera in the laboratory
Development of GUIs (remote)
Acceptance testing (cooperation on-site + remote)

## Slide 13: New GUI
All required functionalities implemented
No software-induced failures
Immediate recovery after hardware problem (missing triggers)

## Slide 14: Calibration GUI
Cycling electromagnet
Measurement of stabilized values

## Slide 15: Thank you