## Slide 1: HDB++: The Memory of Tango-Controls
Reynald Bourtembourg - ESRF

## Slide 2: HDB++ Overview

## Slide 3: HDB++ Overview

## Slide 4: Archive Events
TANGO provides specific event for archiving purposes
The archive event can be sent:
  on value change → specify absolute or relative threshold
  periodically → specify period
  by code (push_archive_event() methods)
Choosing the right thresholds is mandatory:
  if the threshold is too large no events are sent → no archiving
  if the threshold is too small too many events are sent → “noisy” archiving
The right threshold is strictly related to the variable/signal to be archived (type, bandwidth, sampling rate...)

## Slide 5: What is archived?
Attribute value
Attribute set value (for RW or WO attributes)
Timestamp with microsecond resolution
Attribute quality factor (VALID, INVALID, CHANGING, ALARM, WARNING)
Error description in case of Exception (in case of consecutive errors, only the first error is stored in HDB)
Attribute Configuration (Archive event configuration, enum labels, units related configuration, label, format, description, …)

## Slide 6: What is archived?
Events History
  attribute archiving add event
  attribute archiving start event
  attribute archiving stop event
  attribute archiving pause event
  attribute archiving removal event
  attribute archiving crash event

## Slide 7: Special Features - TTL
TTL (Time to Live) => Data can be automatically deleted after a configured period.
  Setting per attribute
  Deleting expired data delegated to the SQL backend

## Slide 8: Special Features – Archiving Strategies & Contexts
You can define your own archiving contexts
Example:
  ALWAYS
  RUN
  SHUTDOWN
  SERVICE
Trick: NEVER context could be used to stop archiving temporarily some attributes linked to hardware in maintenance

## Slide 9: HDB++ Archivers & Configurators

## Slide 10: HDB++ Archivers & Configurators
hdbpp-es and hdbpp-cm = Device servers independent from DB backend
DB backend library dynamically loaded

## Slide 11: HDB++ Archivers & Configurators
Conda packages available:
> conda install hdbpp-es hdbpp-cm
> conda install libhdbpp-timescale

## Slide 12: HDB++ Extraction Libraries
pyhdbpp (libhdbpp-python)
Java Extraction Library (can be used from Matlab)
C++ Extraction Library (only MySQL?)

## Slide 13: pyhdbpp
import pyhdbpp
rd = pyhdbpp.get_default_reader()
rd.get_attribute_values('sr/vc/01/pressure','2023-06-03','2023-06-04')
Out: ((1685782812.169, 1.4e-08, 0),
(1685782842.011, 1.5e-08, 0), …
Python3 package for data extraction
> pip3 install pyhdbpp
● Common API for MariaDB, MySQL and TimeScaleDB
● AbstractReader object provides generic extraction interface
● Dedicated DB back-end implementation is loaded at runtime
● Connection setup is stored in .yaml or Tango properties
● Taurus Widget available! (pyqtgraph)

## Slide 14
HDB++ Viewers – Taurus widgets

## Slide 15: HDB++ Viewers - jhdbviewer
Notes: Java based GUI for plotting
Exploits the Java extraction library
Table and multiline plots

## Slide 16: HDB++ Viewers - jhdbviewer
Notes: Java based GUI for plotting
Exploits the Java extraction library
Table and multiline plots

## Slide 17: HDB++ Viewers – eGiga2m
1) Time period selection
2) Time series selection.
Strikethrough means time series are not current. A tooltip shows the last date the archiving was active, if available.
3) Chart tooltip shows time series numerical value or error explanation
4) Legend. Click to hide/show the corresponding curve.
A tooltip shows the number of samples and extraction time
5) Adjustable
Notes: Web interface
MySQL and TimescaleDB backend

## Slide 18: HDBExtractor++ GUI
Notes: Qt based GUI using the MathGL framework for plotting
Exploits the C++ extraction library
Supports multiline and surface plots

## Slide 19
HDB++ Viewers – Archive Viewer (PostgreSQL)

## Slide 20
HDB++ Viewers – archviewer (web)
Notes: Webapp for plotting HDB++ from TimescaleDB
back-end in Python >= 3.8?
front-end javascript+preact+d3?

## Slide 21
HDB++ Viewers – Grafana

## Slide 22
HDB++ Viewers – Grafana
https://gitlab.com/tango-controls/hdbpp/libhdbpp-grafana-connector

## Slide 23
HDB++ Viewers – Tango Browser
https://gitlab.com/tango-controls/hdbpp/libhdbpp-tangobrowser

## Slide 24
HDB++ Configurator GUI

## Slide 25
HDB++ Configurator GUI

## Slide 26
HDB++ Configurator GUI

## Slide 27
HDB++ Diagnostics GUI

## Slide 28
HDB++ Diagnostics GUI

## Slide 29
HDB++ Diagnostics GUI

## Slide 30
yaml2archiving
Script to ease the configuration of the HDB++ Archiving by using YAML format files in order to add/remove/update archived attributes.
Each YAML file corresponds to one HdbEventSubscriber device and can include the state of the archived attributes with their settings.
https://gitlab.com/tango-controls/hdbpp/yaml2archiving

## Slide 31
yaml2archiving
db: "g-v-csdb-0.maxiv.lu.se:10000“
manager: hdb/config/1
archiver: AUX/KITS/ARCHIVER-01
configuration:
TangoTest:
attributes:
short_scalar_ro:
archive_period: 6000
polling_period: 3000
archive_strategy: SERVICE
short_scalar:
archive_period: 7000
polling_period: 3000
archive_rel_change: 5

## Slide 32
yaml2archiving
$ yaml2archiving path/to/config.yaml
...
CHANGE tango://g-v-csdb-0.maxiv.lu.se:10000/sys/tg_test/3/short_scalar_ro
archive_strategy: ALWAYS -> SERVICE
polling_period: 2000 -> 3000
CHANGE tango://g-v-csdb-0.maxiv.lu.se:10000/sys/tg_test/4/short_scalar_ro
archive_strategy: ALWAYS -> SERVICE
polling_period: 2000 -> 3000
ADD tango://g-v-csdb-0.maxiv.lu.se:10000/sys/tg_test/1/short_scalar_ro
archive_strategy: SERVICE
archive_abs_change: Not specified
archive_rel_change: Not specified
archive_period: 6000
polling_period: 3000
archive_rel_change: 5
REMOVE tango://g-v-csdb-0.maxiv.lu.se:10000/sys/tg_test1/1/short_scalar_ro ** Does not exist in the TangoDB (Cleanup Action)
REMOVE tango://g-v-csdb-0.maxiv.lu.se:10000/sys/tg_test1/1/short_scalar ** Does not exist in the TangoDB (Cleanup Action)
...
=== No changes were made, try the '--write' option to apply. ===
Notes: will generate the configuration for the polling and the archiving settings of the short_scalar_ro & short_scalar attribute of all devices of the TangoTest Class.
his is a list of all the "actions" that the script would need to take in order for the archiver to be configured as described in the YAML file.
Like the last line of the output says, by default the actions are not actually applied, only listed. For that to happen, the user needs to add the --write option. Make sure that the actions printed are precisely the ones you expect, and then rerun the command with the -w/--write flag:

## Slide 33
archwizard
simple web interface to the HDB++ archiving system for monitoring and troubleshooting, not maintenance such as adding and removing attributes.
built using Python, FastAPI, Jinja2 and PyTango
Features
  Display archiving statistics and errors
  Searching on attributes
  Filtering on archivers, attribute name and status (NOK, stopped, etc)
  Temporarily starting and stopping archiving of individual attributes
https://gitlab.com/tango-controls/hdbpp/archwizard

## Slide 34
HDBContextManager (GUI & Device Server)

## Slide 35
HDBContextManager (GUI & Device Server)
https://gitlab.com/tango-controls/hdbpp/ContextManager
https://gitlab.com/tango-controls/hdbpp/ContextManagerGUI

## Slide 36: HDB++ Backends comparison
* Cassandra and elasticsearch HDB++ backends are no longer actively maintained

## Slide 37: TimescaleDB
TimescaleDB is a Postgres extension for time series and demanding workloads
that ingest and query high volumes of data.
Timescale installation:
https://docs.tigerdata.com/self-hosted/latest/install

## Slide 38: HDB++ Timescale Deployment @ ESRF
Using barman for the backups
Notes: TimescaleDB is a Postgres extension for time series and demanding workloads
that ingest and query high volumes of data.

## Slide 39: Useful links
https://gitlab.com/tango-controls/hdbpp
https://tango-controls.readthedocs.io/en/latest/tools-and-extensions/archiving/HDB++.html
https://gitlab.com/tango-controls/hdbpp/hdbpp-tickets
https://forum.tango-controls.org
hdbpp channel on Mattermost tango-controls

## Slide 40: Thank you
Many thanks to all the HDB++ contributors!
Feel free to join us at our regular HDB++ Meetings (1 Zoom meeting every 1 to 2 months) You can also subscribe to the hdbpp mailing list
 https://lists.tango-controls.org/wws/info/hdbpp