## Slide 1: PLC emulation for Tango Devices testing purposes
SKAO at Jodrell Bank, Cheshire United Kingdom, June 28th, 2023
Maciej Mleczko
SOLARIS National Synchrotron Radiation Centre

## Slide 2: Introduction

## Slide 3: Current testing method

## Slide 4: Current testing method
Few problems this method generates:

## Slide 5: Current testing method
Few problems this method generates:
You can test only one scenario at a time

## Slide 6: Current testing method
Few problems this method generates:
You can test only one scenario at a time
You have to manually change values of properties for each scenario

## Slide 7: Current testing method
Few problems this method generates:
You can test only one scenario at a time
You have to manually change values of properties for each scenario
You have to remeber what went wrong and where

## Slide 8: New testing method

## Slide 9: New testing method

## Slide 10: New testing method

## Slide 11: New testing method

## Slide 12: New testing method

## Slide 13: New testing method

## Slide 14: Emulation of PLC Controller – basic information
Theoretical assumptions:
PLC emulator is a separate Tango Device which shares an interface to generate virtual PLC devices

## Slide 15: Emulation of PLC Controller – basic information
Theoretical assumptions:
PLC emulator is a separate Tango Device which shares an interface to generate virtual PLC devices (as many as developer needs)

## Slide 16: Emulation of PLC Controller – basic information
Theoretical assumptions:
PLC emulator is a separate Tango Device which shares an interface to generate virtual PLC devices (as many as developer needs)
Generated device emulate PLC controller (virtual device) which is connected to Tango Device tested by developer

## Slide 17: Emulation of PLC Controller – basic information
Theoretical assumptions:
PLC emulator is a separate Tango Device which shares an interface to generate virtual PLC devices (as many as developer needs)
Generated device emulate PLC controller (virtual device) which is connected to Tango Device tested by developer
Developer can parametrize Virtual PLC device by passing dictionary with values for particular properties (different test scenarios) in generate function

## Slide 18: Emulation of PLC Controller – technical details
Theoretical assumptions:
PLC emulator architecture is based on Abstract Factory design pattern

## Slide 19: Emulation of PLC Controller – technical details
Theoretical assumptions:
PLC emulator architecture is based on Abstract Factory design pattern
Skeleton provides mechanism for producing concrete classes and producing concrete virtual devices

## Slide 20: Example of testing Valve device

## Slide 21: Summary
Current testing method
Performing tests immediately
Time consuming in next phases
Not scalable

## Slide 22: Summary
Current testing method
Performing tests immediately
Time consuming in next phases
Not scalable
New testing method
At the beginning require more time to prepare tests
Scalable for higher amount of tests and larger projects
Performing all prepared tests at the same time

## Slide 23
Thank you!