cppTango: What's new?
9.4.2, 9.3.6 (LTS) and everything else (10.x)

---
cppTango: Fixed release cycles (refresher)
cppTango: Fixed release cycles (refresher)
10.0:
10.0.0 to be released on 2023-10-02
9.4:
- 9.4.0 released on 2022-09-30
- 9.4.1 released on 2023-02-23
- 9.4.2 released on 2023-06-19
9.3.6 (LTS)
- released on 2023-04-02
- 9.3.x in maintenance mode
  - Currently no further release planned
  - Critical bug fixes only
  - No backporting of new features
  - No new features
© Gary Larson

---
Development Branches (refresher)
Development Branches (refresher)
main	9.3-backports
Future: cppTango 10.x	(9.3.x LTS branch)
Requires C++14 (at least) / Requires CMake 3.18	Does not require C++11 (Can be compiled on old compilers but might need a more recent CMake version)
Not binary compatible: neither with cppTango 9.3.x nor with cppTango 9.4.x	Binary compatible with cppTango 9.3.x
Gitlab CI: / Debian 11 and 12, 12-cross-32bit / Alpine / Ubuntu 20.04 / LLVM (16)/GCC (13.1) / Clang-tidy, clang-analyzer / Sanitizers (ASAN, TSAN, UBSAN)	Gitlab CI: / Debian 7 (c++=*), 8 (c++=*), 9 (c++=*) and 10 (c++=* and c++98) (frozen) *=distribution default / Alpine / GCC (8.3.0, frozen)
Appveyor: win32 and x64 msvc 15	Appveyor: win32 and x64 for msvc9, msvc10, msvc12, msvc14 and msvc 15

---
cppTango 9.4 - Changes
cppTango 9.4 - Changes
Please refer to RELEASE_NOTES.md in the repository!
👉 Release notes
Major improvement when compared to 9.3:
Event subscription and publishing possible across isolated container networks
👉 cppTango 9.4 is cloud native 😉

---
cppTango 9.4.2 - Bug Fixes
cppTango 9.4.2 - Bug Fixes
A regression introduced in cppTango 9.4.1 was preventing to specify an omniORB endpoint with an empty hostname. (#1055)
MacOS support has been improved (!1072,!1094],!1079,!1056)
When using Group::write_attribute, a bug could prevent client/server connection if the server was started after the client (#906)

---
cppTango 9.3.6
cppTango 9.3.6
Latest cppTango 9.3 LTS release:
9.3.6, released 2023-04-02
(Remember: 9.3 LTS supports ends 2027-10-02)

---
cppTango 9.3.6
cppTango 9.3.6
- It is now officially possible to extract the DEV_STATE attribute multiple times from a DeviceAttribute object (!943,#845)
- The device server programmer can now use the DeviceImpl::get_client_ident() method to get information on the client (!1055,#801)

---
cppTango 9.3.6 - Main Bug fixes
cppTango 9.3.6 - Main Bug fixes
- Event data corruption could occur with big spectrum or image attributes when a device server was exporting several devices (!1069,#1007,#684)
- Restore event subscriptions after device server rename and restart (!1052,#679)
- A crash could occur when reading a DevString RW Scalar Forwarded Attribute (!914,#512)
- A Segfault could occur in db API when using alternate casing for "DServer" class (!960,#893)
- Fix group write_attribute connection problem when server starts after client (!961,#906)
- The interface event stateless subscription can now succeed as expected with non reachable device (!860,#750)
- Device Servers should now always exit as expected when receiving the SIGTERM signal (!1054,#927)
- Case sensitivity bug for class attributes property (!1070,#1085)
- Allow users to select C++ standard (!928). There was a regression preventing users to use c++98 standard
- Use Expected omniidl When TANGO_OMNI_BASE Is Given (!994,#971)
- "Suspected bug in devapi_pipe" (!954,#925)

---
Gitlab Runners
Gitlab Runners
gitlab.com changed the rules in the way to count the CI Minutes
We switched to our own Gitlab Runners
Many thanks to all the institutes who contributed some runners
Still some performance issues to be solved

---
Known issues elsewhere (a.k.a. dependencies)
Known issues elsewhere (a.k.a. dependencies)
We are aware of a couple of problems or defects in software that cppTango depends on:
omniORB <= 4.2.5, <= 4.3.0
  - Defect on macOS aarch64 (aka Apple M1/M2)
  - Will be fixed in the next 4.2 and 4.3 releases
- libzmq == 4.3.3 and 4.3.4
  - Handshake timeout error with ZMTP_2_0
  - Fix in libzmq > 4.3.4 (to be released, no release date)
- libjpeg-turbo (used since cppTango 9.4.0)
  - General quality regression with identical quality settings when compared to libjpeg
  - Not a bug! Result of the faster implementation of libjpeg-turbo.
  - Fix: Adjust your quality settings (and store them as a property or as an attribute 😉).

---
The future is brighter than ever: cppTango 10.0.0 and later
The future is brighter than ever: cppTango 10.0.0 and later
The next cppTango release will be
cppTango 10.0.0
To be released on 2023-10-02
Will require omniORB >= 4.3
Planned major features for 10.0.0 (details in IDLv6 talk):
- New alarm event
- Enhanced logging system with tracing of command calls
- Warning and alarm hysteresis
- New DevInfo_6 with version information
Outlook/planned for cppTango 10.x (details in IDLv6 talk):
- New datatype DevDict
- Multi-parameter commands
- Multi-dimensional arrays

---
Tango Kernel Webinars
Tango Kernel Webinars
Video recordings available on tango-controls YouTube channel:
https://www.youtube.com/channel/UCezS9cMkektZNItYnPOAQvg
[Speaker Notes: Goals •Share the knowledge on the Kernel Code •Help/Guide first contributors to the Kernel Code]

---
Tango Controls Telecon Meetings
Tango Controls Telecon Meetings
Kernel
  - On 2nd and 4th Thursday of the month at 15:00h (CET/CEST)
  - Agenda and minutes available on Gitlab: tango-kernel-followup
  - Status of recent development (cppTango, JTango, pyTango, POGO, RFCs, …)
  - Technical discussions
  - Define priorities
- cppTango
  - Every Thursday, 14:00h (CET/CEST)
  - Prioritising issues
  - MR discussion
  - Feature discussion and prioritisation
[Speaker Notes: Goals •Share the knowledge on the Kernel Code •Help/Guide first contributors to the Kernel Code]

---
Meet the cppTango team
Meet the cppTango team
A random photo from our telecon.
Top row from left to right: Reynald Bourtembourg (ESRF), Thomas Juerges (SKAO), Tomasz Madej (S2Innovations)
Bottom row from left to right: Nicolas Leclercq (ESRF), Thomas Braun (byte physics e.K.)
Weekly meetings can be fun! Please join us.

---
Tango-Controls Forum
Tango-Controls Forum

---
Tango-Controls Slack cppTango Channel
Tango-Controls Slack cppTango Channel
You can also get some help from the experts on https://www.tango-controls.org/community/slack/

---
This is the last slide (Yes, really!)
This is the last slide (Yes, really!)
Thank you!
Any questions?
Acknowledgement (in alphabetic order):
Benjamin Bertrand, Damien Lacoste, Grzegorz Kowalski, Jack Yates, Kieran Mulholland, Michal Liszcz , Nicolas Leclercq, Piers Harding, Reynald Bourtembourg, Thomas Braun, Thomas Ives, Thomas Juerges, Tomasz Madej
and so many others for their contributions (PR, bug reports, code reviews, comments, …)
https://gitlab.com/tango-controls/cppTango/-/milestones
https://gitlab.com/tango-controls/cppTango/-/issues
https://gitlab.com/tango-controls/TangoSourceDistribution/-/issues