## Slide 1
APOLLON is a research infrastructure (RI) under the supervision of CNRS and École polytechnique, which is operated by the LULI. It is located on the site Orme des merisiers, Saint-Aubin. The RI APOLLON is listed on the 2018 National Roadmap of the Ministère de l’enseignement supérieur, de la recherche et de l’innovation (Mesri). This registration represents a recognition of its value in the Stratégie nationale de recherche.
The APOLLON laser facility is designed to reach an exceptional multipetawatt laser peak power, paving the way for many unexplored research’s areas in physics, chemistry, astrophysics, biology and medicine.
This is a short of the devices servers currently in use at Apollon facility.
Abstract

## Slide 2
Apollon: Devices servers Overview
Stéphane Marchand
Laboratoire pour l’Utilisation des Lasers Intenses
Tango meeting 2023-06-28

## Slide 3
Environment: MS Windows 2022 server, Python 3.8 development (1/2)
  Family: Measure Instrument
    devGenericScope (libs for Agilent & Rohde Schwarz scopes),
  Family: BeamDiagnostics
    devSLink, devMaestro (GENTEC energy & watt meters)
  Family: Motion
    devPilmotMotor (RSAI motion controller),
    devNFC, devNFC_com (NewFocus piezzo motor),
  Family: Other Instruments
    devGFT (Greenfiled Technology 3001 & 1004 synchro boxes) : in catalogue v5.1
Devices servers Overview

## Slide 4
Environment: MS Windows 2022 server, Python 3.8 development (2/2)
  Family: Acquisition
    devPylon (Basler camera)
    devVimba (Prosilica camera)
    devJAZ, devSpectro (Ocean Optics JAZ spectrometer)
  Family: Communication
    devTCP (TCP communication) : in catalogue v1.2
  Family: PowerSupply
    devPDU (Digipower Power Distribution Unit)
Environment: MS Windows 2022 server, LabView 16.0, 2022 Q3 development
  Family: Communication
    devSharedVar (LabView Shared Variables / OPCUA Variables / Tango Attributes gateway)
Devices servers Overview

## Slide 5
Environment: MS Windows 2022 server, LabView 16.0, 2022 Q3 development
  Family: Communication
    devSharedVar (LabView Shared Variables / OPCUA Variables / Tango Attributes gateway)
Environment: Linux Ubuntu 14.04 32bits server, C++ Devices
  Family: Vacuum
    PfeifferGauge, VacuumInterlockViewer, WaterFlowMeter, ActiveGauge, AnalogGauge (reuse of SOLEIL VACUUM Devices)
  Family: InputOutput
    PLCServerV3, PLCDataViewer (reuse of SOLEIL SIEMENS PLC Devices)
Tool TANGO :
  HDB++ on Ubuntu 20.04 (nearly, nearly…).
Devices servers Overview