## Slide 1: Operation of a Liquid Leaf target system for laser-driven ion acceleration using Tango Controls
June, 2026
Chair of Experimental Physics – Medical Physics
Laser-Ion Acceleration Group, Prof. Dr. Jörg Schreiber
Mykhailo Salan F. Schweiger, X. Chen, M. Bachhammer, L. Doyle,
S. Gerlach, L. He, S. Henzelmann, J. Schreiber

## Slide 2: Table of Contents
Introduction
Laser-driven ion acceleration
Experimental setup, Liquid Leaf
Whitelight sensor
Nozzle motors
Overview

## Slide 3: Centre for Advanced Laser Applications
ATLAS 3000
2.5 PW, 1Hz, 27fs
ATLAS (2.5PW)
Protons, Ions
Electrons, X-rays
LION
High field, heavy ions
HF
ETTF
Fig: Google maps

## Slide 4: Laser-Ion Acceleration in a Nutshell
?
Fig: Macchi, 2017
Many interesting properties:
Ultra-high peak currents
Broad energy distribution
Relativistic particles
…
Many useful applications:
Radiobiological experiments
(in context of radiotherapy)
Research in astrophysics
…

## Slide 5: Big-Picture Setup
Target positioning system
Permanent magnet quadrupoles
Wide angle spectrometer
f/5 off-axis parabola

## Slide 6: Liquid leaf target (Star of the show)
FRONT VIEW
1 mm
0.8 µm
4 µm
Thickness
Two colliding water jets
6
Liquid leaf enables unlimited 1 Hz ion acceleration!

## Slide 7: Target Hardware setup
7
Liquid leaf
Hexapod
(xyz movable + 3 angles)
Nozzle motors
(xy movable)
Microscope with
Whitelight sensor
Several cameras
Nozzle system
Is placed on
The hexapod

## Slide 8: Motivation for Tango
Nozzle displacement after laser shot  needs automated nozzle alignment
Automate target thickness measurement routine
8
Device | Tango implementation
Hexapod | 
Nozzle motor | 
Whitelight sensor | 
Cameras | 
 Implement target system in

## Slide 9: Whitelight Sensor
9

## Slide 10: Whitelight sensor (ConfocalDT2451, Micro-Epsilon)
Has a built-in spectrometer
Has an internal LED
10

## Slide 11: Thickness Measurement – Thin-film interference
Water-mixed diesel thin film
By Jhbdel - using inkscapePreviously published: unpublished,
CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=25234684
11

## Slide 12: Numerical fit
Michael Bachhammer
12

## Slide 13: Thickness along target height
13

## Slide 14: Thickness measurement process
FRONT VIEW
1 mm
thin-film interference pattern provides relative thickness map
absolute thickness value via white light interferometry
14

## Slide 15: Thickness measurement process
Relative thickness map allows for
automatic selection of measurement points
Simplify operation
More reproducible comparable data
Position-thickness profile
15

## Slide 16: Nozzle motors
16

## Slide 17: Nozzle motors
Smaract MCS2 Motor Controller
Smaract motors
Currently : manual alignment
Planned : automatic self-alignment
17

## Slide 18: Nozzle Motors — Tango Structure
18
Controller
Motor 2
Motor 1
Motor 2
Tango Devices
Device Proxy
Controller
Tango Controller Class: MCS2Ctrl.py
Tango Motor Class:
MCS2Motor.py
Motor 2
Motor 1
Motor 2
Wrapper Package
Handles communication with Hardware
Clean Tango Classes
Temp
IP-adress
…
Move
Position
…
Controller Class: Device.py
Motor Class: Channel.py

## Slide 19: Liquid Leaf self-alignment
Currently : manual correction
  Time consuming
  Human error
Planned : automatic self-alignment
Closed loop stabilization of Liquid Leaf rotation
19

## Slide 20: Summary
Current status:
Tango implementation of hexapod and cameras, data archiving.
Manual target thickness measurement and alignment
Planned:
Automate thickness measurement
Closed-loop stabilization of Liquid Leaf rotation
 1Hz laser ion acceleration
20

## Slide 21: Acknowledgments
This work has been funded by the Centre for Advanced Laser Applications and the Deutsche Forschungsgemeinschaft (DFG) under Grant No. 558546291.
Many of our projects are publicly available at our GitLab :
https://gitlab.lrz.de/cala-public
Thanks to all the people at CALA

## Slide 22: Questions ? (Mykhailo.Salan@campus.lmu.de)
22

## Slide 23: Thickness Measurement – confocal chromatic sensors
Only works up to
5µm, leaf is thinner
23