## Slide 1: TANGO-Controls @ POLARIS
Alexander Kessler, Dominik Hollatz
40th-Tango-Community-Meeting
GSI - Helmholtz-Institut-Jena

## Slide 2: Outline
  Transition NI-Vision => hij-pyvision
    GenICam-DS
    Metrics-DS
    Taurus-Widget
    Sardana-Ctrl for Cam-DS orchestration
Current Situation
State of project with S2Innovation
  Shot-Data-Collector-DS
  Taranta-Dashboard
  pyTango green mode improvements
  pyTango DS for Bronhorst gas mixing stage

## Slide 3: POLARIS and JETi200
Current situation:
standalone LabVIEW apps @ Windows XP – 10
Remote control via UltraVNC & Remote Desk.
Motivation:
POLARIS and JETi200 should be synchronized for high-intensity laser plasma experiments
FAIR Workflow for Facility and Experiment Data
Lab1: Strecher and A1-A4
Target
https://de.wikipedia.org/wiki/Polaris_(Laser)
https://www.physik.uni-jena.de/436/jeti-200

## Slide 4: From LabVIEW-HIJ-Vision to HIJ-pyVision
Goals:
  Remove NI dependencies
  Images + analysis metadata stored together
  Python replaces LabVIEW
  Universal Cam-DS for GenICam Standard
  Convenient Taurus Widget
  Integration in Sardana scans

## Slide 5: HIJ-pyVision: GenICam-DS
  Image source DS:
    Cam-DS: Harvesters (python GenICam binding)
    SuperGaussian Beam Simulator
    HDF5 Reader
    New sources (not GenICam or using vendor APIs ) are easily possible
  HDF5 writer mixin stores:
    Compressed image
    ROI, target point and calibration settings (space and energy)
    Everything for reproducing of results

## Slide 6: HIJ-pyVision: Metrics Device Server
Results pushed as change events with timestamp of the image
Overflow detection
plugin pattern for analysis classes
  Distance, Deviation, Energy, Fluence, FWHM, Gaussian Fit
  Adding new classes by inheriting from the base class
User selects active metrics

## Slide 7: HIJ-pyVision: Taurus Widget
Image display with live overlays from Metrics DS attributes
  ROI (Region of Interest)
  Target Point and Centroid Cross
  Distance for Line ROIs
  Settings persisted via Cam-DS and synchronized between widget instances
  dynamic adjustment of context menus according to Metrics-DS settings is in progress

## Slide 8: Sardana Controller and Data Collector DS
Sardana-Controller
integrates Cam-DS in Scans
Check the status of DS
Sets name of HDF5 file
Starts and stops frame acquisition and storage
Data Collector
maps experimental workflow – manually triggering an experimental shot
Collects configurable set of tango attributes for next trigger in JSON
well suitable for storing in SciCat
and also for Taranta shot dashboard

## Slide 9: Summary
Free and Open Source Software stack for High Intensity Lasers
  https://gitlab.com/hij-s2innovation
Flexible and future-safe SW architecture
  more about this in HIJ-pyVision presentation
Solution for data storage in
  HDF5 files
  HDB++ with exact timestamps
  Sardana scan NeXus files

## Slide 10: Acknowledgments and personal node
Thank You for your Attention! 🙇
and also for nice collaboration and support during last years
to S2Innovation for support us
I will leave GSI & HI-Jena end of September
Open for future cooperation
(SW-analysis and design, switch to FOSS )
Please support also my successor Matt Schwab!