## Slide 1: MAX IV Tools: tango-takeoff and dsconfig
40th Tango Community Meeting, 2026.06.08-12 B. Bertrand

## Slide 2: Outline
takeoff and dsconfig as cli
takeoff and dsconfig as Ansible modules
Demo

## Slide 3: Acknowledgement
takeoff was initially created by Emil Rosendahl
dsconfig was initially created by Johan Forsberg

## Slide 4: takeoff and dsconfig cli
Notes: Sardana and itango demo

## Slide 5: takeoff and dsconfig
https://gitlab.com/MaxIV/tools
PyPI: https://pypi.org/project/tango-takeoff/ https://pypi.org/project/dsconfig/
conda-forge: https://github.com/conda-forge/tango-takeoff-feedstock https://github.com/conda-forge/dsconfig-feedstock
Notes: takeoff was created internally in 2020 – dsconfig is from 2014

## Slide 6: dsconfig
Python package that provides a set of command line tools for managing configuration of Tango device servers
tango2json: dump the database to json
json2tango: modify the database

## Slide 7: takeoff
usage: takeoff [-h] [--version] {find,up,start,down,stop,restart} ...
Start (up), stop (down) or restart (restart) Tango Device Servers
positional arguments:
{find,up,start,down,stop,restart}
find Finds servers based on terms and shows the 'dry run' version of what will be used in 'up' and 'down'
up (start) Bring servers up based on terms
down (stop) Bring servers down based on terms
restart Restart servers based on terms
options:
-h, --help show this help message and exit
--version show program's version number and exit

## Slide 8: takeoff cli examples
$ takeoff find "Basler/*"
Host Name Level Running
-----------------------------------------------------------------------------------------
b-v-finest-ec-1 Basler/B112A-OA05-3 5 running
b-v-finest-ec-1 Basler/B112A-O02-3 5 running
b-v-finest-ec-1 Basler/B112A-OB05-2 5 running
b-v-finest-ec-1 Basler/B112A-OB04-1 5 running
b-v-finest-ec-1 Basler/B112A-OA04-1 5 running
b-v-finest-ec-1 Basler/B112A-OB05-1 5 running
$ takeoff restart "Basler/*"
Notes: Always good to check with find first which servers will be selected

## Slide 9: takeoff cli examples
$ takeoff find "Pool/*" "MacroServer/*"
Host Name Level Running
-----------------------------------------------------------------------------------------
b-v-dummymax-ec-0 Pool/dummymax 1 running
b-v-dummymax-ec-0 MacroServer/dummymax 2 running
$ takeoff restart -v "Pool/*" "MacroServer/*"
2026-06-04 14:31:22,605 [INFO] MacroServer/dummymax stopped on b-v-dummymax-ec-0
2026-06-04 14:31:28,628 [INFO] Pool/dummymax stopped on b-v-dummymax-ec-0
2026-06-04 14:31:34,660 [INFO] Pool/dummymax started on b-v-dummymax-ec-0
2026-06-04 14:31:42,735 [INFO] MacroServer/dummymax started on b-v-dummymax-ec-0
Started servers: Pool/dummymax MacroServer/dummymax
Stopped servers: MacroServer/dummymax Pool/dummymax
Notes: Respect Starter levels

## Slide 10: takeoff cli examples
$ takeoff find "TangoTest/*"
Host Name Level Running
-----------------------------------------------------------------------------------------
TangoTest/test3 0 stopped
TangoTest/test2 0 stopped
b-v-dummymax-ec-0 TangoTest/test 3 running
$ takeoff restart -v "TangoTest/*"
2026-06-04 14:40:49,690 [INFO] TangoTest/test2 stopped on b-v-dummymax-ec-0
2026-06-04 14:40:50,694 [INFO] TangoTest/test stopped on b-v-dummymax-ec-0
2026-06-04 14:40:58,725 [INFO] TangoTest/test3 stopped on b-v-dummymax-ec-0
2026-06-04 14:41:04,752 [INFO] TangoTest/test3 started on b-v-dummymax-ec-0
2026-06-04 14:41:08,776 [INFO] TangoTest/test started on b-v-dummymax-ec-0
2026-06-04 14:41:09,787 [INFO] TangoTest/test2 started on b-v-dummymax-ec-0
[host,]<server-name>[,<level>]
$ takeoff up --default-host b-v-dummymax-ec-0 "TangoTest/test2,3" "TangoTest/test3,1"
Notes: Send command on same level in parallel

## Slide 11: takeoff cli examples
$ takeoff down --json "TangoTest/*"
{
"result": {
"started": [],
"stopped": [],
"already_running": [],
"already_stopped": [
"TangoTest/test2",
"TangoTest/test",
"TangoTest/test3"
],
"failed_to_start": [],
"failed_to_stop": [],
"changed_info": []
},
"changed": false
}
Notes: Json output – important for use from Ansible role

## Slide 12: takeoff and dsconfig Ansible modules
Notes: Sardana and itango demo

## Slide 13: takeoff Ansible module

## Slide 14: tango_config Ansible module
Use json2tango (dsconfig)
Used in tango_ds role
Notes: Tango_config

## Slide 15: ans_maxiv_tango_ds Ansible role
Ansible role to deploy Tango Device Servers.
Role Variables
Tango device servers are defined using a nested list of servers -> instances -> devices
Notes: Add python and pytango automatically to the env. Can set them to “none” for C++ devices.

## Slide 16: Ansible deploy playbook
tango_config (dsconfig)
conda role
conda role
takeoff

## Slide 17: Demo
Notes: Sardana and itango demo

## Slide 18: Conclusion
CLI tools available for the community
  Use them!
  Give feedback
Interested in Ansible roles on official Ansible Galaxy?

## Slide 19: Links
https://gitlab.com/MaxIV/tools
https://gitlab.com/MaxIV/ansible-galaxy